## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Sr. Vice President (HURL-GKP)
Name of Work: To carry out various categories of instrumentation maintenance jobs inclusive of manpower supply along with tools & tackles at HURL, Gorakhpur
Contract No: HURL/GKP/C&M/21-22/C-143/AMC-INST
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Financial Evaluation shall be done on totality basis.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | PART-A :Instrumentation Item-For more details refer Section-IV of tender document | Item1 | [52 empty] | 1 | PART-A :Instrumentation Item-For more details refer Section-IV of tender document | Item1
1.01 | Removal of Control Valves from pipelines at all elevations in plant, Pressure Rating upto and including 600 LBS & Valve Body size up to and Including 2". | item2 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Removal of Control Valves from pipelines at all elevations in plant, Pressure Rating upto and including 600 LBS & Valve Body size up to and Including 2". | item2 | 40 | Nos
1.02 | Fixing of Control Valves at all elevations in Plant after repairs, End connections to be cleaned and new Gaskets to be provided, PR. Rating upto and including 600 LBS & Valve Body size upto and including 2". | item3 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Fixing of Control Valves at all elevations in Plant after repairs, End connections to be cleaned and new Gaskets to be provided, PR. Rating upto and including 600 LBS & Valve Body size upto and including 2". | item3 | 40 | Nos
1.03 | Removal of Control Valves from pipelines at all elevations in plant, Pr. Rating > 600 LBS & Valve Body size upto and including 2". | item4 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.03 | Removal of Control Valves from pipelines at all elevations in plant, Pr. Rating > 600 LBS & Valve Body size upto and including 2". | item4 | 20 | Nos
1.04 | Fixing of Control Valves at all elevations in Plant after repairs, End connections to be cleaned and new gaskets to be provided. Pr. Rating > 600 LBS & Valve Body size upto and including 2" | Item5 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.04 | Fixing of Control Valves at all elevations in Plant after repairs, End connections to be cleaned and new gaskets to be provided. Pr. Rating > 600 LBS & Valve Body size upto and including 2" | Item5 | 20 | Nos
2 | Transportation of Control Valves to & from Workshop (Test Place) of any Rating & Valve Body size as under: | Item6 | [52 empty] | 2 | Transportation of Control Valves to & from Workshop (Test Place) of any Rating & Valve Body size as under: | Item6
2.01 | upto and including 2". | Item7 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.01 | upto and including 2". | Item7 | 40 | Nos
2.02 | above 2", upto & including 4". | Item8 | 50 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.02 | above 2", upto & including 4". | Item8 | 50 | Nos
2.03 | Above 4" size to all sizes. | Item9 | 30 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.03 | Above 4" size to all sizes. | Item9 | 30 | Nos
3 | Removal/fixing/Transportation of Control valve and theire accessaries | Item10 | [52 empty] | 3 | Removal/fixing/Transportation of Control valve and theire accessaries | Item10
3.01 | Removal of Control Valve from Bonnet & Re-fixing, old Gasket to be removed & new Gasket to be provided. Valve Body size upto & including 6". | Item11 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.01 | Removal of Control Valve from Bonnet & Re-fixing, old Gasket to be removed & new Gasket to be provided. Valve Body size upto & including 6". | Item11 | 40 | Nos
3.02 | Removal of Control Valve from Bonnet & Re-fixing, old gasket to be removed & new gasket to be provided. Valve Body size above 6”, upto & including 24". | Item12 | 30 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.02 | Removal of Control Valve from Bonnet & Re-fixing, old gasket to be removed & new gasket to be provided. Valve Body size above 6”, upto & including 24". | Item12 | 30 | Nos
3.03 | Removal & Fixing of Actuator of control valve, Valve Body size upto & including 8" | Item13 | 30 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.03 | Removal & Fixing of Actuator of control valve, Valve Body size upto & including 8" | Item13 | 30 | Nos
3.04 | Removal & Fixing of Actuator of control valve, Valve Body size above 8", upto & including 24". | Item14 | 25 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.04 | Removal & Fixing of Actuator of control valve, Valve Body size above 8", upto & including 24". | Item14 | 25 | Nos
3.05 | Removal of Valve positioner From Control Valve all types and Sizes. | Item15 | 80 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.05 | Removal of Valve positioner From Control Valve all types and Sizes. | Item15 | 80 | Nos
3.06 | Fixing of Valve positioner From Control Valve all types and Sizes. | Item16 | 80 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.06 | Fixing of Valve positioner From Control Valve all types and Sizes. | Item16 | 80 | Nos
3.07 | Removal of SOLENOID VALVES including Electrical/ Pneumatic Connections of all types and Sizes. | Item17 | 100 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.07 | Removal of SOLENOID VALVES including Electrical/ Pneumatic Connections of all types and Sizes. | Item17 | 100 | Nos
3.08 | Fixing of SOLENOID VALVES including Electrical/ Pneumatic Connections of all types and Sizes. | Item18 | 100 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.08 | Fixing of SOLENOID VALVES including Electrical/ Pneumatic Connections of all types and Sizes. | Item18 | 100 | Nos
3.09 | Removal of Valve LIMIT SWITCH assemblies including Electrical Connections of all types. | Item19 | 100 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.09 | Removal of Valve LIMIT SWITCH assemblies including Electrical Connections of all types. | Item19 | 100 | Nos
3.1 | Fixing of Valve LIMIT SWITCH assemblies including Electrical Connections of all types. | Item20 | 100 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.1 | Fixing of Valve LIMIT SWITCH assemblies including Electrical Connections of all types. | Item20 | 100 | Nos
3.11 | Removal of Volume Booster or Pneumatic of Control Valves of all types. | Item21 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.11 | Removal of Volume Booster or Pneumatic of Control Valves of all types. | Item21 | 40 | Nos
3.12 | Fixing of Volume Booster or Pneumatic of Control Valves of all types. | Item22 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.12 | Fixing of Volume Booster or Pneumatic of Control Valves of all types. | Item22 | 40 | Nos
3.13 | Transportation of Actuator to & from Workshop of any Rating & size. | Item23 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.13 | Transportation of Actuator to & from Workshop of any Rating & size. | Item23 | 40 | Nos
3.14 | Removal of AIR Filter Regulator all Sizes and Types. | Item24 | 60 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.14 | Removal of AIR Filter Regulator all Sizes and Types. | Item24 | 60 | Nos
3.15 | Fixing of AIR Filler Regulator all Sizes and Types. | Item25 | 60 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.15 | Fixing of AIR Filler Regulator all Sizes and Types. | Item25 | 60 | Nos
4 | Laying of Instrument Air-SS/CS | Item26 | [52 empty] | 4 | Laying of Instrument Air-SS/CS | Item26
4.01 | Laying of Inst Air headers lines of 1/2” and ¾” size of SS pipe from Air Header to Consumption Point by Threaded Pipe Fabrication. | Item27 | 25 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.01 | Laying of Inst Air headers lines of 1/2” and ¾” size of SS pipe from Air Header to Consumption Point by Threaded Pipe Fabrication. | Item27 | 25 | Nos
4.02 | Laying of Inst Impulse Pipe lines of 1/2" and ¾” size SS/ CS/ other MOC Pipe after Fabrication. | Item28 | 50 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.02 | Laying of Inst Impulse Pipe lines of 1/2" and ¾” size SS/ CS/ other MOC Pipe after Fabrication. | Item28 | 50 | Nos
5 | Removal/fixing/transportation of Different Type Flow Meters (Magnetic/ Mass/Flange Rotameters/Ultrasonic) | Item29 | [52 empty] | 5 | Removal/fixing/transportation of Different Type Flow Meters (Magnetic/ Mass/Flange Rotameters/Ultrasonic) | Item29
5.01 | size upto & including 4" Irrespective of Pr. Rating | Item30 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.01 | size upto & including 4" Irrespective of Pr. Rating | Item30 | 20 | Nos
5.02 | Transportation to & from Workshop (Test Place) of Different Type Flow Meters (Magnetic/Mass/Flange Rotameters/ Ultrasonic) irrespective of Pr. Rating & Size. | Item31 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.02 | Transportation to & from Workshop (Test Place) of Different Type Flow Meters (Magnetic/Mass/Flange Rotameters/ Ultrasonic) irrespective of Pr. Rating & Size. | Item31 | 20 | Nos
5.03 | Fixing of Different Type Flow Meters (Magnetic/Mass/Flange Rotameters/Ultrasonic) size upto & including 4" Irrespective of Pressure Rating. | Item32 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.03 | Fixing of Different Type Flow Meters (Magnetic/Mass/Flange Rotameters/Ultrasonic) size upto & including 4" Irrespective of Pressure Rating. | Item32 | 20 | Nos
6 | Removal/Fixing of Orifice Flange | Item33 | [52 empty] | 6 | Removal/Fixing of Orifice Flange | Item33
6.01 | Removal of orifice plates at all elevations in the plant and provision of new gaskets, for following line size upto & including 4”, all pressure ratings. | Item34 | 15 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.01 | Removal of orifice plates at all elevations in the plant and provision of new gaskets, for following line size upto & including 4”, all pressure ratings. | Item34 | 15 | Nos
6.02 | Fixing of orifice plates at all elevations in the plant and provision of new gaskets for following Line size upto & including 4”, all pressure ratings. | Item35 | 15 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.02 | Fixing of orifice plates at all elevations in the plant and provision of new gaskets for following Line size upto & including 4”, all pressure ratings. | Item35 | 15 | Nos
7 | Fabrication, clamping, supporting, painting of inclined sheds on junction boxes and instruments etc. made of MS angle & aluminium sheet. | Item36 | [52 empty] | 7 | Fabrication, clamping, supporting, painting of inclined sheds on junction boxes and instruments etc. made of MS angle & aluminium sheet. | Item36
7.01 | Size 3 feet x 2 feet | Item37 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.01 | Size 3 feet x 2 feet | Item37 | 20 | Nos
7.02 | Size 4 feet x 2 feet | Item38 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.02 | Size 4 feet x 2 feet | Item38 | 20 | Nos
8 | Fixing/removal/transportation of RADAR | Item39 | [52 empty] | 8 | Fixing/removal/transportation of RADAR | Item39
8.01 | Complete fixing of RADAR / displacer type / capacitance type / magnetic type / Capillary type / level transmitters, level gauges, level switches (all sizes and pressure ratings) from various vessels at all elevations in the plant, and to provide new gaskets. | Item40 | 30 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.01 | Complete fixing of RADAR / displacer type / capacitance type / magnetic type / Capillary type / level transmitters, level gauges, level switches (all sizes and pressure ratings) from various vessels at all elevations in the plant, and to provide new gaskets. | Item40 | 30 | Nos
8.02 | Complete removal of RADAR/ displacer type/ capacitance type/ magnetic type / Capillary type / level transmitters, level gauges, level switches (all sizes and pressure ratings} from various vessels at all elevations in the plant, and to provide new gaskets | Item41 | 30 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.02 | Complete removal of RADAR/ displacer type/ capacitance type/ magnetic type / Capillary type / level transmitters, level gauges, level switches (all sizes and pressure ratings} from various vessels at all elevations in the plant, and to provide new gaskets | Item41 | 30 | Nos
8.03 | Transportation to & from Workshop (Test Place) of Radar / displacer type / capacitance type / magnetic type / level transmitters, Level gauges, level switches (all sizes and pressure ratings) from various plants. | Item42 | 30 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.03 | Transportation to & from Workshop (Test Place) of Radar / displacer type / capacitance type / magnetic type / level transmitters, Level gauges, level switches (all sizes and pressure ratings) from various plants. | Item42 | 30 | Nos
9 | Removal of power cylinders of dampers / control valves etc. | Item43 | [52 empty] | 9 | Removal of power cylinders of dampers / control valves etc. | Item43
9.01 | upto and including 3" dia. | Item44 | 30 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.01 | upto and including 3" dia. | Item44 | 30 | Nos
9.02 | above 3" upto and including 6" dia. | Item45 | 15 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.02 | above 3" upto and including 6" dia. | Item45 | 15 | Nos
10 | Fixing of power cylinders of dampers / control valves etc. | Item46 | [52 empty] | 10 | Fixing of power cylinders of dampers / control valves etc. | Item46
10.01 | upto and including 3" dia. | Item47 | 30 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.01 | upto and including 3" dia. | Item47 | 30 | Nos
10.02 | above 3" upto and including 6" dia. | Item48 | 15 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.02 | above 3" upto and including 6" dia. | Item48 | 15 | Nos
11 | Transportation to & from Workshop (Test Place) of Power Cylinder: | Item49 | [52 empty] | 11 | Transportation to & from Workshop (Test Place) of Power Cylinder: | Item49
11.01 | uplo and including 3" dia. | Item50 | 30 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.01 | uplo and including 3" dia. | Item50 | 30 | Nos
11.02 | above 3” upto and including 6" dia. | Item51 | 15 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.02 | above 3” upto and including 6" dia. | Item51 | 15 | Nos
12 | Laying of cable trays with proper angle iron supports (welding & grouting included). for following sizes of trays :- | Item52 | [52 empty] | 12 | Laying of cable trays with proper angle iron supports (welding & grouting included). for following sizes of trays :- | Item52
12.01 | 50 mm wide cable tray | Item53 | 350 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.01 | 50 mm wide cable tray | Item53 | 350 | Mtrs
12.02 | 100 mm wide cable tray | Item54 | 100 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.02 | 100 mm wide cable tray | Item54 | 100 | Mtrs
12.03 | 150 mm wide cable tray | Item55 | 120 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.03 | 150 mm wide cable tray | Item55 | 120 | Mtrs
12.04 | 300 mm Wide cable tray, 600mm, 750mm also to be included | Item56 | 200 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.04 | 300 mm Wide cable tray, 600mm, 750mm also to be included | Item56 | 200 | Mtrs
13 | Laying and clamping of armoured, signal, power, conduit pipes or thermocouple extension cables (armoured) with conductor size upto 2.5 mm2 on cable trays/ Angle/ Ducts with proper glanding at both ends of following sizes: - | Item57 | [52 empty] | 13 | Laying and clamping of armoured, signal, power, conduit pipes or thermocouple extension cables (armoured) with conductor size upto 2.5 mm2 on cable trays/ Angle/ Ducts with proper glanding at both ends of following sizes: - | Item57
13.01 | Up to 4 traid x 0.5/1.5 mm2 | Item58 | 1000 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.01 | Up to 4 traid x 0.5/1.5 mm2 | Item58 | 1000 | Mtrs
13.02 | 8 up to 36 traid x 0.5/1.5 mm2 | Item59 | 1000 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.02 | 8 up to 36 traid x 0.5/1.5 mm2 | Item59 | 1000 | Mtrs
14 | Clamping & fixing of already laid cable in various plants of following sizes having bunch up to 10-15 cables: | Item60 | [52 empty] | 14 | Clamping & fixing of already laid cable in various plants of following sizes having bunch up to 10-15 cables: | Item60
14.01 | 2/3/4 Core x 0.5 / 1.5 mm2 | Item61 | 500 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.01 | 2/3/4 Core x 0.5 / 1.5 mm2 | Item61 | 500 | Mtrs
14.02 | 12/19/24 Core x 0.5 / 1.5 mm2 | Item62 | 500 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.02 | 12/19/24 Core x 0.5 / 1.5 mm2 | Item62 | 500 | Mtrs
15 | Laying and clamping of SS tubes in trays/ducts/angles, making connections at both ends using compression fittings, leakage checking and rectification Tubes in following sizes: - | Item63 | [52 empty] | 15 | Laying and clamping of SS tubes in trays/ducts/angles, making connections at both ends using compression fittings, leakage checking and rectification Tubes in following sizes: - | Item63
15.01 | 6 mm/ 1/4-inch OD SS tube | Item64 | 300 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15.01 | 6 mm/ 1/4-inch OD SS tube | Item64 | 300 | Mtrs
15.02 | 8 mm/ 1/3-inch OD SS tube | Item65 | 200 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15.02 | 8 mm/ 1/3-inch OD SS tube | Item65 | 200 | Mtrs
15.03 | 10 mm/ 3/8-inch OD SS tube | Item66 | 200 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15.03 | 10 mm/ 3/8-inch OD SS tube | Item66 | 200 | Mtrs
15.04 | 12 mm/ ½-inch OD SS tube, other sizes | Item67 | 300 | Mtrs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15.04 | 12 mm/ ½-inch OD SS tube, other sizes | Item67 | 300 | Mtrs
16 | Removal/Fixing of analysers accesary | Item68 | [52 empty] | 16 | Removal/Fixing of analysers accesary | Item68
16.01 | Removal of analyser cylinders of all sizes from analyser including transportation to store. | Item69 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.01 | Removal of analyser cylinders of all sizes from analyser including transportation to store. | Item69 | 20 | Nos
16.02 | Installation of analyser cylinders of all sizes with respective analyser including transportation from store. | Item70 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.02 | Installation of analyser cylinders of all sizes with respective analyser including transportation from store. | Item70 | 20 | Nos
16.03 | Analysers Sample filters cleaning and replacement. | Item71 | 50 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.03 | Analysers Sample filters cleaning and replacement. | Item71 | 50 | Nos
16.04 | Sample Coolers Cleaning and boxing-up. | Item72 | 50 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.04 | Sample Coolers Cleaning and boxing-up. | Item72 | 50 | Nos
16.05 | Removal of pH meters/ Conductivity Meters. | Item73 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.05 | Removal of pH meters/ Conductivity Meters. | Item73 | 20 | Nos
16.06 | Fixing of pH meters/ Conductivity Meters. | Item74 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.06 | Fixing of pH meters/ Conductivity Meters. | Item74 | 20 | Nos
16.07 | Removal of Gas detectors any type any gas. | Item75 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.07 | Removal of Gas detectors any type any gas. | Item75 | 20 | Nos
16.08 | Fixing of Gas detectors any type any gas. | Item76 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.08 | Fixing of Gas detectors any type any gas. | Item76 | 20 | Nos
17 | Removal/Fixing of Junction Boxes | Item77 | [52 empty] | 17 | Removal/Fixing of Junction Boxes | Item77
17.01 | Removal of 2/3 way Ex. Proof junction boxes. The job includes removal of cables. | Item78 | 15 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17.01 | Removal of 2/3 way Ex. Proof junction boxes. The job includes removal of cables. | Item78 | 15 | Nos
17.02 | Fixing of 2/3-way Ex. Proof junction boxes. The job includes Mounting of new junction box after fabrication and painting of new mounting bracket and cable glanding. | Item79 | 15 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17.02 | Fixing of 2/3-way Ex. Proof junction boxes. The job includes Mounting of new junction box after fabrication and painting of new mounting bracket and cable glanding. | Item79 | 15 | Nos
17.03 | Removal 6/8/12 way Ex Proof junction boxes. The job includes removal of cables from old junction boxes. | Item80 | 15 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17.03 | Removal 6/8/12 way Ex Proof junction boxes. The job includes removal of cables from old junction boxes. | Item80 | 15 | Nos
17.04 | Fixing of 6/8/12 way Ex. Proof junction boxes. The job includes mounting of new junction box after fabrication and painting of new mounting bracket and cable glanding. | Item81 | 15 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17.04 | Fixing of 6/8/12 way Ex. Proof junction boxes. The job includes mounting of new junction box after fabrication and painting of new mounting bracket and cable glanding. | Item81 | 15 | Nos
18 | Removal/Fixing of Flange type isolation valves | Item82 | [52 empty] | 18 | Removal/Fixing of Flange type isolation valves | Item82
18.01 | Fixing of Flange type isolation valves of level trolls, level gauges, level switches at all elevations in the plant, cleaning of end connections and providing new gaskets. Size upto and including 50 NB. PN 250. | Item83 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.01 | Fixing of Flange type isolation valves of level trolls, level gauges, level switches at all elevations in the plant, cleaning of end connections and providing new gaskets. Size upto and including 50 NB. PN 250. | Item83 | 40 | Nos
18.02 | Removal of Flange type isolation valves of Level Trolls. Level Gauges and Level switches at all elevations in the plant and providing blind flanges Cleaning of end connections and new gaskets to be provided. Size upto & including: 50 NB, PN250. | Item84 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.02 | Removal of Flange type isolation valves of Level Trolls. Level Gauges and Level switches at all elevations in the plant and providing blind flanges Cleaning of end connections and new gaskets to be provided. Size upto & including: 50 NB, PN250. | Item84 | 40 | Nos
18.03 | Removal of 1/2" Threaded Isolation valve of Any Type and rating. | Item85 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.03 | Removal of 1/2" Threaded Isolation valve of Any Type and rating. | Item85 | 40 | Nos
18.04 | Installation of 1/2" Threaded Isolation valve of Any Type and rating. | Item86 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18.04 | Installation of 1/2" Threaded Isolation valve of Any Type and rating. | Item86 | 40 | Nos
19 | Removal/fixing of Normal Differential Pressure/Pressure transmitters of any rating. | Item87 | [52 empty] | 19 | Removal/fixing of Normal Differential Pressure/Pressure transmitters of any rating. | Item87
19.01 | Removal of Normal Differential Pressure/Pressure transmitters of any rating. | Item88 | 100 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 19.01 | Removal of Normal Differential Pressure/Pressure transmitters of any rating. | Item88 | 100 | Nos
19.02 | Fixing of Normal Differential Pressure/Pressure transmitters of any rating. | Item89 | 100 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 19.02 | Fixing of Normal Differential Pressure/Pressure transmitters of any rating. | Item89 | 100 | Nos
20 | Removal/fixing of Diaphragm Seal type Differential Pressure/Pressure transmitters of any rating any size. | Item90 | [52 empty] | 20 | Removal/fixing of Diaphragm Seal type Differential Pressure/Pressure transmitters of any rating any size. | Item90
20.01 | Removal of Diaphragm Seal type Differential Pressure/Pressure transmitters of any rating any size. | Item91 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 20.01 | Removal of Diaphragm Seal type Differential Pressure/Pressure transmitters of any rating any size. | Item91 | 40 | Nos
20.02 | Fixing of Diaphragm Seal type Differential Pressure / Pressure transmitters of any rating any size. | Item92 | 40 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 20.02 | Fixing of Diaphragm Seal type Differential Pressure / Pressure transmitters of any rating any size. | Item92 | 40 | Nos
21 | Removal/fixing of Temperature transmitters including of cables and cable glands. | Item93 | [52 empty] | 21 | Removal/fixing of Temperature transmitters including of cables and cable glands. | Item93
21.01 | Removal of Temperature transmitters including of cables and cable glands. | Item94 | 100 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 21.01 | Removal of Temperature transmitters including of cables and cable glands. | Item94 | 100 | Nos
21.02 | Fixing of Temperature transmitters including of cables and cable glands. | Item95 | 100 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 21.02 | Fixing of Temperature transmitters including of cables and cable glands. | Item95 | 100 | Nos
22 | Removal /Fixing /transportation of Pr Gauge/temp gauges/Diaphragm seal | Item96 | [52 empty] | 22 | Removal /Fixing /transportation of Pr Gauge/temp gauges/Diaphragm seal | Item96
22.01 | Removal of Pressure gauges/Temperature gauges without capillaries (including accessories like pig tails, snubbers, etc.) | Item97 | 200 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22.01 | Removal of Pressure gauges/Temperature gauges without capillaries (including accessories like pig tails, snubbers, etc.) | Item97 | 200 | Nos
22.02 | Fixing of Pressure gauges temperature gauges without capillaries. | Item98 | 200 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22.02 | Fixing of Pressure gauges temperature gauges without capillaries. | Item98 | 200 | Nos
22.03 | Removal of Pressure gauges / Temperature gauges with capillaries any size and any rating. | Item99 | 50 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22.03 | Removal of Pressure gauges / Temperature gauges with capillaries any size and any rating. | Item99 | 50 | Nos
22.04 | Fixing of Pressure gauges / Temperature gauges with capillaries any size and any rating. | Item100 | 50 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22.04 | Fixing of Pressure gauges / Temperature gauges with capillaries any size and any rating. | Item100 | 50 | Nos
22.05 | Removal of Thermowell Threaded or Flanged any size and any rating. | Item101 | 50 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22.05 | Removal of Thermowell Threaded or Flanged any size and any rating. | Item101 | 50 | Nos
22.06 | Fixing of Thermowell Threaded or Flanged any size and any rating. | Item102 | 50 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22.06 | Fixing of Thermowell Threaded or Flanged any size and any rating. | Item102 | 50 | Nos
22.07 | Transportation of Diaphragm seal type differential pressure / pressure transmitter / Pressure Gauge with capillary / temperature gauge with capillary to & from Workshop (Test Place) | Item103 | 20 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22.07 | Transportation of Diaphragm seal type differential pressure / pressure transmitter / Pressure Gauge with capillary / temperature gauge with capillary to & from Workshop (Test Place) | Item103 | 20 | Nos
22.08 | Transportation of Normal differential pressure / pressure transmitter / Pr. Gauge /temperature gauges to & from Workshop (Test Place). | Item104 | 400 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22.08 | Transportation of Normal differential pressure / pressure transmitter / Pr. Gauge /temperature gauges to & from Workshop (Test Place). | Item104 | 400 | Nos
23 | Fabrication of mounting frames and supports for instruments from angle irons / flats / channels or pipes and applying primer & painting to the fabricated frames/supports. | Item105 | 1800 | Kgs | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 23 | Fabrication of mounting frames and supports for instruments from angle irons / flats / channels or pipes and applying primer & painting to the fabricated frames/supports. | Item105 | 1800 | Kgs
24 | Tightening /replacement of flange of control valve | Item106 | [52 empty] | 24 | Tightening /replacement of flange of control valve | Item106
24.01 | Tightening of flange of control valve. Valve body size up to and including 4" | Item107 | 60 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 24.01 | Tightening of flange of control valve. Valve body size up to and including 4" | Item107 | 60 | Nos
24.02 | Replacement of flange gaskets on both sides of control valve, valve body size upto and including 4". | Item108 | 60 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 24.02 | Replacement of flange gaskets on both sides of control valve, valve body size upto and including 4". | Item108 | 60 | Nos
25 | Cleaning of control Panels/ JB's/ Field instruments. | Item109 | [52 empty] | 25 | Cleaning of control Panels/ JB's/ Field instruments. | Item109
25.01 | Local Junction Boxes | Item110 | 100 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25.01 | Local Junction Boxes | Item110 | 100 | Nos
25.02 | Local Control Panels | Item111 | 50 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25.02 | Local Control Panels | Item111 | 50 | Nos
25.03 | DCS /ESD Control Racks | Item112 | 1000 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25.03 | DCS /ESD Control Racks | Item112 | 1000 | Nos
25.04 | Operator Consoles Monitors | Item113 | 250 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25.04 | Operator Consoles Monitors | Item113 | 250 | Nos
25.05 | Field Mounted Gauges & Transmitters. | Item114 | 1000 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25.05 | Field Mounted Gauges & Transmitters. | Item114 | 1000 | Nos
25.06 | Cleaning of gas detectors any type and any size. | Item115 | 250 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25.06 | Cleaning of gas detectors any type and any size. | Item115 | 250 | Nos
25.07 | Cleaning of CCTV cameras and washing unit. | Item116 | 100 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25.07 | Cleaning of CCTV cameras and washing unit. | Item116 | 100 | Nos
26 | PART-B: Manpower Supply-For more details refer Section-IV of tender document | Item117 | [52 empty] | 26 | PART-B: Manpower Supply-For more details refer Section-IV of tender document | Item117
26.01 | Supervisors -1No (1No.*27 days*12month=324 mandays) | Item118 | 324 | Mandays | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26.01 | Supervisors -1No (1No.*27 days*12month=324 mandays) | Item118 | 324 | Mandays
26.02 | Fitter/Technicians-19 Nos (19 Nos*27dyas*12months=6156 mandays) | Item119 | 6156 | Mandays | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26.02 | Fitter/Technicians-19 Nos (19 Nos*27dyas*12months=6156 mandays) | Item119 | 6156 | Mandays
26.03 | Helper-12 Nos (12 Nos*27dyas*12months=3888 mandays) | Item120 | 3888 | Mandays | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26.03 | Helper-12 Nos (12 Nos*27dyas*12months=3888 mandays) | Item120 | 3888 | Mandays
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information